## Alternative 1
مدل مالی طرح توسعه سامانه نمک زدایی با ظرفیت اسمی 20000 مترمکعب در شبانه روز ( گزینه اول)
Alternatives | General specifications |  |  |  |  | Construction |  |  | Operation |  |  | Energy costs | [5 empty] | Revenue
| Desalination modules | Nominal capacity (m3/d) | Recovery rate of each stage (%) | Water production capacity (m3/d) | Total recovery rate of the system (%) | Capital cost to produce one m3 of water* ($/m3) | Total construction costs- Cost of desalination by each module (1000$) | Capital cost to produce 1m3 of water by the system ($/m3) | Operation costs of each 1m3 of water* (Cent/m3) | Total operatio n costs -Cost of desalination by each module ($) | Operation costs to produce 1m3 of water by the system (Cent/m3) | Specific Energy consumption index per each m3* (KW-h/m3) | Specific Energy consumption index per each module (KW-h/m3) | Total specific Energy consumption index of the system (KW-h/m3) | The price of 100 KW-h of energy at peak consumption (Cent) | Total cost of energy ($) | Cost of energy consumed to produce 100m3 of water (Cent) | Water price ($) | Water price revenues ($)
Alternative 1: The development phase using the 2-stage RO | 1st Stage of RO | 20000 | 50 | 10000 | 75 | 300 | 3000 | 333.3333 | 6 | 600 | 8 | 0.8 | 8000 | 20500 | 0.3 | 61.5 | 0.41 | 0.35 | 5250
| 2nd Stage of RO | 10000 | 50 | 5000 |  | 400 | 2000 |  | 12 | 600 |  | 2.5 | 12500
Alternative 2: The development phase using the 2-stage RO + the SBERs & Conventional Treatmen | 1st Stage of RO | 20000 | 50 | 10000 | 82.242 | 300 | 3000 | 245.1748 | 6 | 600 | 4.6513 | 0.8 | 8000 | 17480.52 | 0.3 | 52.4416 | 0.14789 | 0.35 | 5756.94
| SBERs (Treatment of reject brine) | 10000 | 98 | 9800 |  | 33 | 323.4 |  | 3 | 294 |  | 0.3 | 2940
| Hybrid Treatment | 9800 | 94 | 9212 |  | 373 | 3436.076 |  | 4 | 368.48 |  | 0.15 | 1381.8
| 2nd Stage of RO | 9212 | 70 | 6448.4 |  | 300 | 1934.52 |  | 6 | 386.904 |  | 0.8 | 5158.72
Alternative 3: The development phase using RO and SBERs +Complementry Treatment | RO | 10000 | 50 | 5000 | 97.5 | 300 | 1500 | 95.4416 | 6 | 300 | 3.2857 | 0.8 | 4000 | 7087.5 | 0.3 | 21.2625 | 0.11045 | 0.12 | 4660
| SBERs (Treatment of brackish water) | 10000 | 95 | 9500 |  | 33 | 3135 |  | 3 | 285 |  | 0.3 | 2850
| Comp. Trea. | 5000 | 95 | 4750 |  | 5 | 237.5 |  | 1 | 47.5 |  | 0.05 | 237.5
Model's assumptions |  |  |  |  | Year |  | Costs of membrane replacement in the RO desalination plant-
Cosntruction period of the plant, including civil and construction works |  |  |  |  | 2 |  | SUM ($) | 2nd stage of RO ($) | Overhaul maintenance of Water Treatment ($) | Electrods replacement in SBERs ($) | 1st stage of RO ($) | Alternatives
Operation period of the desalination plant |  |  |  |  | 16 |  | 259200 | 86400 | 0 | 0 | 172800 | The development phase using the 2 stage RO
Service life of the equipment for direct calculation of depreciation |  |  |  |  | 16 |  | 263674 | 86400 | 1350 | 3124 | 172800 | The development phase using the 2stage RO + the SBERs & Hybrid Treatmen
Service life of RO membrane |  |  |  |  | 5 |  | 131382 | 0 | 220 | 1562 | 129600 | The development phase using RO and SBERs +Complementry Treatment
Serviec life of SBERs and Conventional Treatment |  |  |  |  | 1
Costs and revenues - model 1 |  |  |  |  | Amount
Capital investment costs ($) |  |  |  |  | 5000000
Annual operation costs ($) |  |  |  |  | 438000
Energy consumption cost |  |  |  |  | 22447.5
Costs of membrane replacement at the 6th and 12th years of operation |  |  |  |  | 2*(86400+43200)
Costs of system overhaul at the 6th year equivalent to 10% of capital investment |  |  |  |  | 500000
Annual water sale revenues ($) |  |  |  |  | 1916250
Depreciation value euivalent to 10% of the capital investment |  |  |  |  | 500000
Rate of financing (minimum pay back expected) |  |  |  |  | 15%
Tax |  |  |  |  | 25%
Rate of increase in the costs of operation and energy |  |  |  |  | 18%
Rate of increase in water price |  |  |  |  | 18%
Alternative 1:The development phase using the 2-stage RO | Capital investment ($) | Operation ($) | Energy ($) | Membrane replacement ($) | Equipment overhaul | Depreciation of the purchased equipment, assuming a 15-year service life, direct method of calculation and cost of overhaul depreciation | revenues generated from Water price | scrap value of equipment | Income tax | Cash flow | Aggregate cash flow | NPV of income
0 | 5000000 | [8 empty] | -5000000 | -5000000 | 5000000
1 |  | 438000 | 22447.5 |  |  | 312500 | 1916250 |  | 479062.5 | 664240 | -4335760 | 577600
2 |  | 516840 | 26488.05 |  |  | 312500 | 2261175 |  | 565293.75 | 840053.2 | -3495706.8 | 635200.9074
3 |  | 609871.2 | 31255.899 |  |  | 312500 | 2668186.5 |  | 667046.625 | 1047512.776 | -2448194.024 | 688756.6539
4 |  | 719648.016 | 36881.9608 |  |  | 312500 | 3148460.07 |  | 787115.0175 | 1292315.0757 | -1155878.9483 | 738885.3388
5 |  | 849184.6589 | 43520.7138 |  |  | 312500 | 3715182.8826 |  | 928795.7206 | 1581181.7893 | 425302.841 | 786126.7999
6 |  | 1002037.8975 | 51354.4422 | 592986.8106 | 1143878.8784 | 312500 | 4383915.8015 |  | 1095978.9504 | 185178.8224 | 610481.6634 | 80057.9151
7 |  | 1182404.719 | 60598.2419 |  |  | 426887.8878 | 5173020.6457 |  | 1293255.1614 | 2209874.6356 | 2820356.299 | 830773.7291
8 |  | 1395237.5684 | 71505.9254 |  |  | 426887.8878 | 6104164.362 |  | 1526041.0905 | 2684491.8898 | 5504848.1888 | 877565.1607
9 |  | 1646380.3308 | 84376.992 |  |  | 426887.8878 | 7202913.9471 |  | 1800728.4868 | 3244540.2498 | 8749388.4386 | 922300.8374
10 |  | 1942728.7903 | 99564.8505 |  |  | 426887.8878 | 8499438.4576 |  | 2124859.6144 | 3905397.3145 | 12654785.7531 | 965354.4875
11 |  | 2292419.9726 | 117486.5236 |  |  | 426887.8878 | 10029337.38 |  | 2507334.345 | 4685208.651 | 17339994.4041 | 1007053.8465
12 |  | 2705055.5676 | 138634.0978 | 1600800.0071 |  | 426887.8878 | 11834618.1084 |  | 2958654.5271 | 4004586.0208 | 21344580.4249 | 748485.7608
13 |  | 3191965.5698 | 163588.2355 |  |  | 426887.8878 | 13964849.3679 |  | 3491212.342 | 6691195.3328 | 28035775.7577 | 1087506.3052
14 |  | 3766519.3724 | 193034.1178 |  |  | 426887.8878 | 16478522.2541 |  | 4119630.5635 | 7972450.3125 | 36008226.0702 | 1126735.7035
15 |  | 4444492.8594 | 227780.259 |  |  | 426887.8878 | 19444656.2598 |  | 4861164.065 | 9484331.1886 | 45492557.2588 | 1165571.9989
16 |  | 5244501.5741 | 268780.7057 |  |  | 426887.8878 | 28931568.3296 | 5986873.943 | 7232892.0824 | 15758506.0796 | 61251063.3384 | 1684029.1237
The net present value (NPV) is the difference between the present value of income and the present value of the costs at the intended rate of return (15%). If the difference is positive, the project has an economical justification, i.e. the present value of the income is larger than the present value of the costs. | [6 empty] | NPV | 7758264.8422
The internal rate of return (IRR) is the decremental rate, according to which the NPV of the investment plan becomes zero. In other words, it is the decremental rate according to which, the NPV of the income becomes equal to the costs. If the IRR is larger than the rate of interest (e.g. a bank interest rate of 18%), then the plan is feasible and profitable. | [6 empty] | IRR | 29.82%
The pay back period is the period during which, the capital investment is compensated by the revenues. For the purpose of analysis, it is better for the payback period to be short, since there is less assurance about a distant future than a near one. Thus, the shorter pay back period, the lower the risk of investment. | [6 empty] | Pay back period (year) | 5

## Alternative 2
مدل مالی طرح توسعه سامانه نمک زدایی با ظرفیت اسمی 20000 مترمکعب در شبانه روز ( گزینه دوم)
Alternatives | General specifications |  |  |  |  | Construction |  |  | Operation |  |  | Energy costs | [5 empty] | Revenue
| Desalination modules | Nominal capacity (m3/d) | Recovery rate of each stage (%) | Water production capacity (m3/d) | Total recovery rate of the system (%) | Capital cost to produce one m3 of water* ($/m3) | Total construction costs- Cost of desalination by each module (1000$) | Capital cost to produce 1m3 of water by the system ($/m3) | Operation costs of each 1m3 of water* (Cent/m3) | Total operation costs -Cost of desalination by each module ($) | Operation costs to produce 1m3 of water by the system (Cent/m3) | Specific Energy consumption index per each m3* (KW-h/m3) | Specific Energy consumption index per each module (KW-h/m3) | Total specific Energy consumption index of the system (KW-h/m3) | The price of 100 KW-h of energy at peak consumption (Cent) | Total cost of energy ($) | Cost of energy consumed to produce 100m3 of water (Cent) | Water price ($) | Water price revenues ($)
Alternative 1: The development phase using the 2-stage RO | 1st Stage of RO | 20000 | 50 | 10000 | 75 | 300 | 3000 | 333.3333 | 6 | 600 | 8 | 0.8 | 8000 | 20500 | 0.3 | 61.5 | 0.41 | 0.35 | 5250
| 2nd Stage of RO | 10000 | 50 | 5000 |  | 400 | 2000 |  | 12 | 600 |  | 2.5 | 12500
Alternative2: The development phase using the 2-stage RO + the SBERs & Conventional Treatmen | RO | 20000 | 50 | 10000 | 82.242 | 300 | 3000 | 245.1748 | 6 | 600 | 4.6513 | 0.8 | 8000 | 17480.52 | 0.3 | 52.4416 | 0.14789 | 0.35 | 5756.94
| SBERs | 10000 | 98 | 9800 |  | 33 | 323.4 |  | 3 | 294 |  | 0.3 | 2940
| Hybrid Treatment | 9800 | 94 | 9212 |  | 373 | 3436.076 |  | 4 | 368.48 |  | 0.15 | 1381.8
| 2nd Stage of RO | 9212 | 70 | 6448.4 |  | 300 | 1934.52 |  | 6 | 386.904 |  | 0.8 | 5158.72
Alternative 3: The development phase using RO and SBERs +Complementry Treatment | RO | 10000 | 50 | 5000 | 96.25 | 300 | 1500 | 95.4416 | 6 | 300 | 3.2857 | 0.8 | 4000 | 7087.5 | 0.3 | 21.2625 | 0.11045 | 0.12 | 4660
| SBERs | 10000 | 95 | 9500 |  | 33 | 3135 |  | 3 | 285 |  | 0.3 | 2850
| Comp. Trea. | 5000 | 95 | 4750 |  | 5 | 237.5 |  | 1 | 47.5 |  | 0.05 | 237.5
Model's assumptions |  |  |  |  | Year |  | Costs of membrane replacement in the RO desalination plant - Costs of electrods replacement and overhaul maintenance of SBERs and Water treatment
Cosntruction period of the plant, including civil and construction works |  |  |  |  | 2 |  | SUM ($) | 2nd stage of RO ($) | Maintenance and repairs of Water Treatment ($) | Anod plates replacement in SBERs ($) | 1st stage of RO ($) | Alternatives
Operation period of the desalination plant |  |  |  |  | 16 |  | 259200 | 86400 | 0 | 0 | 172800 | The development phase using the 2 stage RO
Service life of the equipment for direct calculation of depreciation |  |  |  |  | 16 |  | 263674 | 86400 | 1350 | 3124 | 172800 | The development phase using the 2stage RO + the SBERs & Hybrid Treatmen
Service life of RO membrane |  |  |  |  | 5 |  | 131382 | 0 | 220 | 1562 | 129600 | The development phase using RO and SBERs +Complementry Treatment
Serviec life of SBERs and Conventional Treatment |  |  |  |  | 1
Costs and revenues - model 2 |  |  |  |  | Amount
Capital investment costs ($) |  |  |  |  | 6759476
Annual operation costs ($) |  |  |  |  | 460805.2
Energy consumption cost |  |  |  |  | 19141.1694
Costs of membrane replacement at the 6th and 12th years of operation- Costs of electrods replacement and overhaul maintenanace of SBERs for 16 year. |  |  |  |  | 2*(86400+43200)+16*(1562+675)
Costs of system overhaul at the 6th year equivalent to 10% of capital investment |  |  |  |  | 675947.6
Annual water sale revenues ($) |  |  |  |  | 2101283.1
Depreciation value euivalent to 10% of the capital investment |  |  |  |  | 675947.6
Rate of financing (minimum pay back expected) |  |  |  |  | 15%
Tax |  |  |  |  | 25%
Rate of increase in the costs of operation and energy |  |  |  |  | 18%
Rate of increase in water price |  |  |  |  | 18%
Alternatives 2: The development phase using the 2-stage RO + the SBERs & Hybridl Treatmen | Capital investment ($) | Operation ($) | Energy ($) | Membrane replacement ($) | Equipment overhaul | Depreciation of the purchased equipment, assuming a 15-year service life, direct method of calculation and cost of overhaul depreciation | revenues generated from Water price | scrap value of equipment | Income tax | Cash flow | Aggregate cash flow | NPV of income
0 | 6759476 | [8 empty] | -6759476 | -6759476 | 6759476
1 |  | 460805.2 | 19141.1694 |  |  | 422467.25 | 2101283.1 |  | 525320.775 | 673548.7056 | -6085927.2944 | 585694.5266
2 |  | 543750.136 | 22586.5799 |  |  | 422467.25 | 2479514.058 |  | 619878.5145 | 870831.5776 | -5215095.7168 | 658473.7827
3 |  | 641625.1605 | 26652.1643 |  |  | 422467.25 | 2925826.5884 |  | 731456.6471 | 1103625.3666 | -4111470.3502 | 725651.593
4 |  | 757117.6894 | 31449.5538 |  |  | 422467.25 | 3452475.3744 |  | 863118.8436 | 1378322.0376 | -2733148.3127 | 788060.0984
5 |  | 893398.8735 | 37110.4735 |  |  | 422467.25 | 4073920.9417 |  | 1018480.2354 | 1702464.1093 | -1030684.2033 | 846425.5478
6 |  | 1054210.6707 | 43790.3588 | 296493.4053 | 1546404.3651 | 422467.25 | 4807226.7113 |  | 1201806.6778 | 242053.9836 | -788630.2197 | 104646.6168
7 |  | 1243968.5914 | 51672.6233 |  |  | 577107.6865 | 5672527.5193 |  | 1418131.8798 | 2381646.7382 | 1593016.5185 | 895349.2249
8 |  | 1467882.9378 | 60973.6956 |  |  | 577107.6865 | 6693582.4728 |  | 1673395.6182 | 2914222.5347 | 4507239.0532 | 952664.516
9 |  | 1732101.8667 | 71948.9607 | 16817.1361 |  | 577107.6865 | 7898427.3179 |  | 1974606.8295 | 3525844.8384 | 8033083.8916 | 1002265.1582
10 |  | 2043880.2027 | 84899.7737 |  |  | 577107.6865 | 9320144.2351 |  | 2330036.0588 | 4284220.5134 | 12317304.405 | 1058993.7886
11 |  | 2411778.6391 | 100181.7329 |  |  | 577107.6865 | 10997770.1974 |  | 2749442.5493 | 5159259.5894 | 17476563.9945 | 1108947.883
12 |  | 2845898.7942 | 118214.4449 | 800400.0036 |  | 577107.6865 | 12977368.8329 |  | 3244342.2082 | 5391405.6955 | 22867969.69 | 1007692.2741
13 |  | 3358160.5771 | 139493.045 |  |  | 577107.6865 | 15313295.2228 |  | 3828323.8057 | 7410210.1085 | 30278179.7985 | 1204366.3075
14 |  | 3962629.481 | 164601.793 |  |  | 577107.6865 | 18069688.3629 |  | 4517422.0907 | 8847927.3116 | 39126107.1102 | 1250465.6929
15 |  | 4675902.7876 | 194230.1158 |  |  | 577107.6865 | 21322232.2683 |  | 5330558.0671 | 10544433.6113 | 49670540.7214 | 1295852.7404
16 |  | 5517565.2894 | 229191.5366 |  |  | 577107.6865 | 33253860.2231 | 8093626.1466 | 8313465.0558 | 18616530.6548 | 68287071.3763 | 1989451.2619
The net present value (NPV) is the difference between the present value of income and the present value of the costs at the intended rate of return (15%). If the difference is positive, the project has an economical justification, i.e. the present value of the income is larger than the present value of the costs. | [6 empty] | NPV | 7578717.4025
The internal rate of return (IRR) is the decremental rate, according to which the NPV of the investment plan becomes zero. In other words, it is the decremental rate according to which, the NPV of the income becomes equal to the costs. If the IRR is larger than the rate of interest (e.g. a bank interest rate of 18%), then the plan is feasible and profitable. | [6 empty] | IRR | 26.15%
The pay back period is the period during which, the capital investment is compensated by the revenues. For the purpose of analysis, it is better for the payback period to be short, since there is less assurance about a distant future than a near one. Thus, the shorter pay back period, the lower the risk of investment. | [6 empty] | Pay back period (year) | 7

## Alternative 3
مدل مالی طرح توسعه سامانه نمک زدایی با ظرفیت اسمی 20000 مترمکعب در شبانه روز (گزینه سوم)
Alternatives | General specifications |  |  |  |  | Construction |  |  | Operation |  |  | Energy costs | [5 empty] | Revenue
| Desalination modules | Nominal capacity (m3/d) | Recovery rate of each stage (%) | Water production capacity (m3/d) | Total recovery rate of the system (%) | Capital cost to produce one m3 of water* ($/m3) | Total construction costs- Cost of desalination by each module (1000$) | Capital cost to produce 1m3 of water by the system ($/m3) | Operation costs of each 1m3 of water* (Cent/m3) | Total operatio n costs -Cost of desalination by each module ($) | Operation costs to produce 1m3 of water by the system (Cent/m3) | Specific Energy consumption index per each m3* (KW-h/m3) | Specific Energy consumption index per each module (KW-h/m3) | Total specific Energy consumption index of the system (KW-h/m3) | The price of 100 KW-h of energy at peak consumption (Cent) | Total cost of energy ($) | Cost of energy consumed to produce 100m3 of water (Cent) | Water price ($) | Water price revenues ($)
Alternative 1: The development phase using the 2-stage RO | 1st Stage of RO | 20000 | 50 | 10000 | 75 | 300 | 3000 | 333.3333 | 6 | 600 | 8 | 0.8 | 8000 | 20500 | 0.3 | 61.5 | 0.41 | 0.35 | 5250
| 2nd Stage of RO | 10000 | 50 | 5000 |  | 400 | 2000 |  | 12 | 600 |  | 2.5 | 12500
Alternative 2: The development phase using the 2-stage RO + the SBERs & Conventional Treatmen | RO | 20000 | 50 | 10000 | 82.242 | 300 | 3000 | 245.1748 | 6 | 600 | 4.6513 | 0.8 | 8000 | 17480.52 | 0.3 | 52.4416 | 0.14789 | 0.35 | 5756.94
| SBERs | 10000 | 98 | 9800 |  | 33 | 323.4 |  | 3 | 294 |  | 0.3 | 2940
| Hybrid Treatment | 9800 | 94 | 9212 |  | 373 | 3436.076 |  | 4 | 368.48 |  | 0.15 | 1381.8
| 2nd Stage of RO | 9212 | 70 | 6448.4 |  | 300 | 1934.52 |  | 6 | 386.904 |  | 0.8 | 5158.72
Alternative 3: The development phase using RO and SBERs +Complementry Treatment | RO | 10000 | 50 | 5000 | 96.25 | 300 | 1500 | 95.4416 | 6 | 300 | 3.2857 | 0.8 | 4000 | 7087.5 | 0.3 | 21.2625 | 0.11045 | 0.12 | 4660
| SBERs | 10000 | 95 | 9500 |  | 33 | 3135 |  | 3 | 285 |  | 0.3 | 2850
| Comp. Trea. | 5000 | 95 | 4750 |  | 5 | 237.5 |  | 1 | 47.5 |  | 0.05 | 237.5
Model's assumptions |  |  |  |  | Year |  | Costs of membrane replacement in the RO desalination plant - Costs of electrods replacement and overhaul maintenance of SBERs and Water treatment
Cosntruction period of the plant, including civil and construction works |  |  |  |  | 2 |  | SUM ($) | 2nd stage of RO ($) | Maintenance and repairs of Water Treatment ($) | Anod plates replacement in SBERs ($) | 1st stage of RO ($) | Alternatives
Operation period of the desalination plant |  |  |  |  | 16 |  | 259200 | 86400 | 0 | 0 | 172800 | The development phase using the 2 stage RO
Service life of the equipment for direct calculation of depreciation |  |  |  |  | 16 |  | 263674 | 86400 | 1350 | 3124 | 172800 | The development phase using the 2stage RO + the SBERs & Hybrid Treatmen
Service life of RO membrane |  |  |  |  | 5 |  | 131382 | 0 | 220 | 1562 | 129600 | The development phase using RO and SBERs +Complementry Treatment
Serviec life of SBERs and Conventional Treatment |  |  |  |  | 1
Costs and revenues - model 2 |  |  |  |  | Amount
Capital investment costs ($) |  |  |  |  | 4872500
Annual operation costs ($) |  |  |  |  | 230862.5
Energy consumption cost |  |  |  |  | 7760.8125
Costs of membrane replacement at the 6th and 12th years of operation- Cost of electrods replacement and overhaul maintenanace of SBERs for 16 year. |  |  |  |  | 2*(86400+43200)+16*(1562+675)
Costs of system overhaul at the 6th year equivalent to 10% of capital investment |  |  |  |  | 487250
Annual water sale revenues ($) |  |  |  |  | 1700900
Depreciation value euivalent to 10% of the capital investment |  |  |  |  | 487250
Rate of financing (minimum pay back expected) |  |  |  |  | 15%
Tax |  |  |  |  | 25%
Rate of increase in the costs of operation and energy |  |  |  |  | 18%
Rate of increase in water price |  |  |  |  | 18%
Alternative 3: The development phase using RO and SBERs +Complementry Treatment | Capital investment ($) | Operation ($) | Energy ($) | Membrane replacement ($) | Equipment overhaul | Depreciation of the purchased equipment, assuming a 15-year service life, direct method of calculation and cost of overhaul depreciation | revenues generated from Water price | scrap value of equipment | Income tax | Cash flow | Aggregate cash flow | NPV of income
0 | 4872500 | [8 empty] | -4872500 | -4872500 | 4872500
1 |  | 230862.5 | 7760.8125 |  |  | 304531.25 | 1700900 |  | 425225 | 732520.4375 | -4139979.5625 | 636974.2935
2 |  | 272417.75 | 9157.7587 |  |  | 304531.25 | 2007062 |  | 501765.5 | 919189.7412 | -3220789.8213 | 695039.5019
3 |  | 321452.945 | 10806.1553 |  |  | 304531.25 | 2368333.16 |  | 592083.29 | 1139459.5197 | -2081330.3016 | 749213.1304
4 |  | 379314.4751 | 12751.2633 |  |  | 304531.25 | 2794633.1288 |  | 698658.2822 | 1399377.8582 | -681952.4434 | 800098.8322
5 |  | 447591.0806 | 15046.4907 |  |  | 304531.25 | 3297667.092 |  | 824416.773 | 1706081.4977 | 1024129.0543 | 848224.0292
6 |  | 528157.4751 | 17754.859 | 296493.4053 | 1114709.967 | 304531.25 | 3891247.1685 |  | 972811.7921 | 656788.42 | 1680917.4743 | 283947.7586
7 |  | 623225.8207 | 20950.7336 |  |  | 416002.2467 | 4591671.6589 |  | 1147917.9147 | 2383574.9432 | 4064492.4175 | 896074.1086
8 |  | 735406.4684 | 24721.8657 |  |  | 416002.2467 | 5418172.5575 |  | 1354543.1394 | 2887498.8374 | 6951991.2549 | 943928.4919
9 |  | 867779.6327 | 29171.8015 | 5871.3381 |  | 416002.2467 | 6393443.6178 |  | 1598360.9045 | 3476257.6944 | 10428248.9493 | 988169.3971
10 |  | 1023979.9666 | 34422.7258 |  |  | 416002.2467 | 7544263.469 |  | 1886065.8673 | 4183792.6628 | 14612041.6121 | 1034169.5598
11 |  | 1208296.3605 | 40618.8164 |  |  | 416002.2467 | 8902230.8935 |  | 2225557.7234 | 5011755.7465 | 19623797.3586 | 1077242.9316
12 |  | 1425789.7054 | 47930.2033 | 800400.0036 |  | 416002.2467 | 10504632.4543 |  | 2626158.1136 | 5188352.1817 | 24812149.5402 | 969740.1204
13 |  | 1682431.8524 | 56557.6399 |  |  | 416002.2467 | 12395466.296 |  | 3098866.574 | 7141607.983 | 31953757.5232 | 1160710.9529
14 |  | 1985269.5858 | 66738.0151 |  |  | 416002.2467 | 14626650.2293 |  | 3656662.5573 | 8501977.8243 | 40455735.3475 | 1201573.1161
15 |  | 2342618.1113 | 78750.8579 |  |  | 416002.2467 | 17259447.2706 |  | 4314861.8177 | 10107214.2371 | 50562949.5846 | 1242120.8905
16 |  | 2764289.3713 | 92926.0123 |  |  | 416002.2467 | 26200356.4368 | 5834208.6575 | 6550089.1092 | 16377049.6973 | 66939999.2819 | 1750129.645
The net present value (NPV) is the difference between the present value of income and the present value of the costs at the intended rate of return (15%). If the difference is positive, the project has an economical justification, i.e. the present value of the income is larger than the present value of the costs. | [6 empty] | NPV | 9047701.5303
The internal rate of return (IRR) is the decremental rate, according to which the NPV of the investment plan becomes zero. In other words, it is the decremental rate according to which, the NPV of the income becomes equal to the costs. If the IRR is larger than the rate of interest (e.g. a bank interest rate of 18%), then the plan is feasible and profitable. | [6 empty] | IRR | 32.23%
The pay back period is the period during which, the capital investment is compensated by the revenues. For the purpose of analysis, it is better for the payback period to be short, since there is less assurance about a distant future than a near one. Thus, the shorter pay back period, the lower the risk of investment. | [6 empty] | Pay back period (year) | 5

## Result
مقایسه نتایج مدل های مالی سه گزینه طرح توسعه سامانه نمک زدایی با ظرفیت اسمی 20000 مترمکعب در شبانه روز
Assumptions | Rate of financing (minimum expected rate of return) | Growth of operational costs (inflation) | Water price | Growth of Water price
Alternative 1 | 15% | 18% | 0.35 | 18%
Alternative 2 | 15% | 18% | 0.35 | 18%
Alternative 3 | 15% | 18% | Industrial Water Uses 0.12 | 18%
0.35
* In scenarios, Drinking water price is equal US$0.35 and US$1 is equal 300,000 Iranian Rials .
Results | NPV | IRR | PP
Alternative 1 | 7758264.8422 | 0.29819 | 5
Alternative 2 | 7578717.4025 | 0.26149 | 7
Alternative 3 | 9047701.5303 | 0.32227 | 5
General analysis: Since at the minimum expected rate (15%) the net present values (NPV) of costs and revenues during a 16-year operation will be positive, the plan's implementation at a water tariff of 1/3 USD (100,000 Iranian Rials) per cubic meter of water will have an economic justification in all the three proposed alternatives; and since their internal rates of return (IRR) are larger than the expected rate of return (15%), the plan at all the three scenarios will be profitable. As the three alternatives have a positive NPV, the one with a higher NPV has a greater justification. Moreover, the plan that has a greater IRR yield to a greater economic return than others. Furthermore, the plan with a shorter pay back period has a priority over the others. Here, the NPV and IRR of the third alternative are larger than others, while the pay back periods of both alternative 3 and alternative 1 are equal. Therefore, the choice of alternative 3 is more efficient other both alternative 1 and alternative 2.
1USD = 300,000 Iranian Rials
Innovative Sequencing Batch Electrocoagulation Reactors (SBERs) for Brine Treatment in Brackish Water Desalination System